## Slide 1: Multivariate fault detection in WWTP
Kathryn B. Newhart

## Slide 2: Introduction to fault detection
  Single variable monitoring is traditional approach in WWTP
  Trend analysis is used, but methods are kept private
  Multivariate statistical process monitoring is widespread in literature, but not in practice

## Slide 3: Why use statistical process control?
  Statistical Process Control (SPE)
  There is inherent variability in WWTP that cannot be accounted for with an empirical model
  Operator-determined setpoints may not be valid for all operating conditions, making the system reliant on diligent supervison.
  To improve efficiency, need to improve process control

## Slide 4: Why use statistical process control?

## Slide 5: Characteristics of big data

## Slide 6: Principal Component Analysis
  Data reduction technique
  Complex relationships between water quality variables
    Interpretable linear combinations of data
  Which components represent the most variability?
    1st component = maximum variance

## Slide 7: Mines Park WWTP

## Slide 8: Mines Park WWTP

## Slide 9: Case studies
Steps for each case study:
  Declare case study parameters
  Compile & clean raw data
  Train ADPCA model
  Test ADPCA model
  Calculate fault detection statistics
  Summarize results
Required software:
  R (free)
  Student-developed packages (e.g., mvMonitoring, ADPCA)

## Slide 10: Case study: membrane failure - 7 days

## Slide 11: Case study: membrane failure - 5 days

## Slide 12: Case study: pump shutdown - 10 days - ms

## Slide 13: Case study: pump shutdown - 7 days - ms

## Slide 14: Case study: pump shutdown - 5 days - ms

## Slide 15: Case study: pump shutdown - 10 days - ss

## Slide 16: Case study: pump shutdown - 7 days - ss

## Slide 17: Case study: pump shutdown - 5 days - ss

## Slide 18: Case study: pump clog - 5 days

## Slide 19: Case study: membrane shutdown - 10 days - ss

## Slide 20: Case study: membrane shutdown - 10 days - ms

## Slide 21: Case study: membrane shutdown - 5 days - ss

## Slide 22: Case study: influent overdose - 5 days

## Slide 23: Case study: inf/eff quality changes - 5 days - ss

## Slide 24: Case study: inf/eff quality changes - 10 days - ss

## Slide 25: Case study: inf/eff quality changes - 10 days - ms

## Slide 26: Case study: Clear clog in pump - 5 days - ss

## Slide 27
<img src="“images/5 day SS allGraphs 2018-01-24 2018-01-29.svg”>

## Slide 28: Alarm rates: January - 5 day

## Slide 29: Alarm rates: January - 10 day