## Slide 1
SBR
MBR
MBR
+
SBR
SBR
MBR
+
SBR
MBR
1 | BIO 1 DO
2 | BIO 2 DO
3 | BIO BLOWER 1 FLOW
4 | BIO BLOWER 2 FLOW
5 | SEWAGE FLOW
6 | SEWAGE LEVEL
7 | AMBIENT TEMP
8 | BIO 1 LEVEL
9 | BIO 1 TEMPERATURE
10 | BIO 2 LEVEL
11 | BIO 2 TEMPERATURE
12 | RAS TROUGH PH
13 | RAS TROUGH TSS
14 | RAS TROUGH TEMPERATURE
15 | MBR 1 PERM FLOW
16 | MBR 1 PERM PRESS
17 | MBR 2 PERM FLOW
18 | MBR 2 PERM PRESS
19 | MBR 1 AIR SCOUR FLOW
20 | MBR 2 AIR SCOUR FLOW
21 | MBR 1 TRANS PRESS
22 | MBR 2 TRANS PRESS
23 | MBR AIR PRESSURE 1
24 | MBR AIR PRESSURE 2
25 | MBR AIR SCOUR PRESSURE
26 | RAS TROUGH DO
27 | PERMEATE CONDUCTIVITY
28 | PERMEATE LEVEL
29 | MBR 2 TSS
30 | MBR 1 TSS
31 | MBR 1 INF FLOW
32 | MBR 1 LEVEL
33 | MBR 2 INF FLOW
34 | MBR 2 LEVEL
35 | PERMEATE TURBIDITY
35
33
31
29
27
25
23
21
19
17
15
13
11
9
7
5
3
1
1
3
5
7
9
11
13
15
17
19
21
23
25
27
29
31
33
35